## Permittee pH Cal Log
Calibration Standard | Date | Analyst Initials | Analysis Time | Reading (Units) | Temp Reading (°C) | Calibration Slope (mV or %) | Comments
pH Buffer 4/Lot#
pH Buffer 7/Lot#
pH Buffer 10/Lot#
2nd Buffer pH 7 (6.9 - 7.1)/Lot# | [5 empty] | Pass or Fail
pH Buffer 4/Lot#
pH Buffer 7/Lot#
pH Buffer 10/Lot#
2nd Buffer pH 7 (6.9 - 7.1)/Lot# | [5 empty] | Pass or Fail
pH Buffer 4/Lot#
pH Buffer 7/Lot#
pH Buffer 10/Lot#
2nd Buffer pH 7 (6.9 - 7.1)/Lot# | [5 empty] | Pass or Fail
pH Buffer 4/Lot#
pH Buffer 7/Lot#
pH Buffer 10/Lot#
2nd Buffer pH 7 (6.9 - 7.1)/Lot# | [5 empty] | Pass or Fail
Once/Month Duplicate Sample (+/- 0.1 Acceptance) |  |  | Orig Reading: |  | Dup Reading:
Once/Month Verification Check/Buffer 7 | [5 empty] | Pass or Fail
NOTE: Grab pH Analysis for purposes of compliance sampling must be performed within 15 minutes sample collection using one of the methods specified for Hydrogen Ion in Title 40 of the Code of Federal Regulations Part 136; typically SM4500 H+ B. Continuous pH Analysis for purposes of compliance sampling must be capable of logging pH at a minimum of 1-minute intervals and must comply with EPA Method 150.2. Arizona Department of Environmental Quality has provided guidance for complying with the Calibration and QA/QC portions of the approved analytical methods. This pH callibration log may aid in meeting the minimum criteria. Please see the manufacturer's manual for your pH meter to determine the acceptable slope in mV or %.
NOTE: Permittees are required to calibrate field and/or bench pH meters each day of use for Grab pH Analysis.
NOTE: Permittees are required to calibrate pH meters at miminum once every 30 days for Continuous pH Analysis.
NOTE: Permittees are required to keep pH Calibration Logs onsite and available for review for a minimum of three years.